ANNA UNIVERSITY
B.E./B.Tech. DEGREE EXAMINATIONS, NOVEMBER 2024
Third Semester
Electrical and Electronics Engineering
GE23211 - BASIC ELECTRICAL AND ELECTRONICS ENGINEERING
(Regulation R-2021)
Time: Three Hours                Maximum: 100 Marks
Answer ALL Questions

PART A - (10 × 2 = 20 Marks)

1. Define RMS value of an AC current.

2. Calculate the equivalent resistance when two resistors of 4Ω and 6Ω are connected in parallel.

3. State Faraday's laws of electromagnetic induction.

4. What is the principle of a DC generator?

5. List the types of DC motors based on excitation.

6. Define power factor in AC circuits.

7. What is the function of a transformer?

8. Identify the main parts of a single-phase induction motor.

9. State Kirchhoff's current law (KCL).

10. What is impedance in AC circuits?

PART B - (5 × 16 = 80 Marks)

11. (a) Explain the construction and working principle of a DC generator with a neat diagram. Derive the EMF equation. (16 Marks)

12. (a) Analyze the operation of a single-phase transformer. Derive the EMF equation and explain the losses in a transformer. (16 Marks)

13. (a) Describe the construction and working of a three-phase induction motor. Explain the concept of slip and its significance. (16 Marks)

14. (a) Apply Kirchhoff's laws to solve the following circuit. Find the current in each branch using mesh analysis. [Refer Fig.1] (16 Marks)

15. (a) Design a simple RLC series circuit and calculate the resonant frequency, bandwidth, and quality factor for given values. (16 Marks)

Note: Scientific calculator is permitted.