GE23211 - BASIC ELECTRICAL AND ELECTRONICS ENGINEERING
SYLLABUS
Regulation: R-2021
Credits: 4 | L-T-P: 3-1-0

COURSE OUTCOMES:

CO1: Apply fundamental concepts of electrical circuits to solve problems.

CO2: Understand the working principles of DC machines and transformers.

CO3: Analyze the operation and characteristics of AC machines.

CO4: Design and evaluate simple electronic circuits.

CO5: Apply electromagnetic principles to real-world applications.

UNIT I - ELECTRICAL CIRCUITS (9 Hours)

Ohm's Law - Resistors in series and parallel - Voltage and current divider rules - 
Kirchhoff's laws - Mesh and nodal analysis - Network theorems: Thevenin, Norton, 
Superposition - AC fundamentals - RMS and average values - Phasors - Impedance - 
Power factor - Power in AC circuits - Single phase and three phase systems.

UNIT II - DC MACHINES (9 Hours)

DC Generator: Construction, principle of operation, EMF equation, types of generators.
DC Motor: Principle of operation, back EMF, torque equation, types of DC motors,
speed control methods, applications. Losses and efficiency of DC machines.

UNIT III - TRANSFORMERS (9 Hours)

Single phase transformer: Construction, principle of operation, EMF equation,
transformation ratio. Losses in transformers - Copper loss, Iron loss.
Efficiency and voltage regulation. Open circuit and short circuit tests.
Auto-transformer and its applications.

UNIT IV - AC MACHINES (9 Hours)

Three-phase induction motor: Construction, principle of operation, slip, torque-slip
characteristics. Starting methods of induction motors. Single-phase induction motor:
Construction, principle, starting methods. Synchronous machines: Principle of operation,
applications.

UNIT V - BASICS OF ELECTRONICS (9 Hours)

PN junction diode: Characteristics and applications. Zener diode.
Bipolar Junction Transistor (BJT): Construction, working, characteristics.
Field Effect Transistor (FET): Construction, working, characteristics.
Basic amplifier circuits. Operational amplifier fundamentals.